What is a Carney Funnel?

-A similar size of standard hall flowmeter funnel, the difference between a hall flowmeter funnel and carney funnel is the orifice diameter, hall flow funnel 2.5mm and carney 5.0mm. Also a hall flowmeter funnel is calibrated and Carney Funnel not calibrated. A hall flowmeter funnel can test both hall flow rate and apparent density, but a Carney Funnel can only test apparent density.