What is HMK-22 Fisher Sub Sieve Sizer Sample Weight?

-As per requirement of Fisher method, the weight of a sample being tested is the value of the specific gravity of powder. Sample weight must be shown on the test report.